## Benefits Summary
| KEY |  |  | MANUAL INPUTS
| Input Type | Color |  | Cell | Notes
| Manual Input |  |  | B10,B11,B17 | Based on historical volumes, peaks, and trends
| Based on values in separate tab |  |  | B12, B18 | Current contracted rates for supply
| Based on values in separate cell |  |  | B19 | Average delivery rate
|  |  |  | B24:B27 | Generator size, average peak load, suggested operating hours, current Load Factor
| Assumptions |  |  | Current Baseline Energy Costs | Item | NRG Energy Costs | Item
| Current Electric Consumption (kWh) | 0 |  | Total billed usage | 0 | Total billed usage | -1460000
| 2016 Peak Load (kW) | 3077.5824 |  | Total on-site energy generated |  | Total on-site energy generated | 1460000
| Current electric supply costs ($/kWh) | 0.0682
| Current electric delivery costs ($/kWh) | 0.1286 |  | Annual Electric Costs | 0 | Annual Electric Costs | 277400
| Future electric supply costs ($/kWh) | 0.0588 |  | Annual Gas Costs | 0 | Annual Gas Costs | 0
| Future electric delivery costs ($/kWh) | 0.1312
|  |  |  | Total Annual Energy costs | 0 | Total Annual Energy | 277400
| Current est. annual gas usage (Dth) | 0
| Current gas supply costs ($/Dth) | 0 |  | Market Revenue (DR) Summary
| Current gas delivery costs ($/Dth) | 0
| Total Future est. annual gas usage (Dth) | 0 |  | Emergency DR | 180000
| Future gas supply costs ($/Dth) | 0 |  | Synch DR
| Future gas delivery costs ($/Dth) | 0 |  | Economic DR - Highest LMP | 0
|  |  |  | Economic DR - Highest Load | 0
| Installed Generator Set Capacity | 1000 |  | Economic DR - Highest Revenue | 0
| Average Estimated Gen Operating Load | 1000 |  | NRG's Share of DR Revenue (LMP) | 180000
| Annual Generator Set Operating Hours | 1460 |  | NRG's Share of DR Revenue (Load) | 180000
| Customer Load Factor | 100% |  | NRG's Share of DR Revenue (Rev) | 180000
DR REVENUE DISCOUNTS
| Factors |  |  | DR Program | Actual Average | Imperfect LMP Match | Load Availability | Future Prices
| Customer Energy Cost Reduction | 0% | 0 | Emergency DR | 180000
| Effective E DR MWs | 1 |  | Synch DR
| Gas swing adder | 0% |  | Economic DR - Highest LMP |  | 60%
| Defer tax benefit | 2026-01-01 |  | Economic DR - Highest Load |  | 25% |  | 5%
Drop Down | NRG's Share of DR Revenue (LMP) | 180000 |  | Economic DR - Highest Revenue |  | 25% | 5% | 5%
| Cash Inflows |  |  | Project IRR | 32.24%
| Billed to Customer | 0 |  | NPV | 1400621.3609
| DR Revenue | 180000 |  | Average Annual EBITDA | 526906.7717
| Total | 180000
| Cash Outflows |  |  | Reliability Service Agreement | 0 | 0%
| NRG Costs of Energy | 277400 |  | Advisory Services/Curtailment Solutions | 457400 | 100%
| Net Revenue | 457400
| From Brokering Energy | 277400

## Input
Input Page | Model Version | 2016-05-27 |  | 457400 |  |  |  | Project Cost
Customer Information | [6 empty] | Cost | NRG |  |  |  |  | PowerSAM | PowerSAM | Tax | Tax
Company Name | Sample w/LeFrak NYC Residential Bldg | [5 empty] | Estimate | Cost Basis | Comments |  |  |  | Capital | Expense | Personal | Land Improve
Street Address |  |  | Generator |  |  |  | 1200000 | 1200000 | Includes Catalytic Converter, Start-up |  |  |  | 1200000 |  | 1200000
City, State Zip |  |  | Switchgear |  |  |  |  | 0 | Per States Electric, w/Start-up |  |  | 0 | 0 |  | 0
County |  |  | Enclosure |  |  |  |  | 0 | Custom enclosure |  |  |  | 0 |  | 0
Sales Tax Rate | 4.5% |  | Electrical installation |  |  |  |  | 0 | Electric: short circuit, plans, approvals, etc.. |  |  | 0 | 0 |  | 0 | 0
Capital Order # / Cost Center # |  |  | Main service disconnect |  |  |  |  | 0 | Mechanical |  |  | 0 | 0 |  | 0
Customer Peak Demand | 2787.84 |  | CT can and/or connection cabinets |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Projected In Service Date | 2017-12-31 |  | Sitework and concrete pads |  |  |  |  | 0 | Sitework / Construction |  |  | 0 | 0 |  |  | 0
Annual Revenue / Utility Savings | 457400 | /Year | Crane |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Annual Customer Payments | 0 | /Year | Initial Fuel Fill |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Savings back to Customer | 0 | /Year | Other |  |  |  |  | 0 | Emissions permitting - PA DEP |  |  | 0 | 0
Genset kWh Billing (from DG worksheet) | 0 | /Year | Other |  |  |  |  | 0 | Sound permitting - Swarthmore City Borough |  |  | 0 | 0
|  |  | Other |  |  |  |  | 0 | Utility permitting - PECO |  |  | 0 | 0
Operating Expenses |  |  | Monitoring hardware, setup and install |  |  |  |  | 0 | NG Fuel Meters for emissions reporting |  |  | 0 | 0 |  | 0
Contracted Maintenance Expense | 3900 | /Year | Rental generator / cable costs |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Internal NRG Maintenance Labor | 2400 | /Year | Phone line installation and connection |  |  |  |  | 0 | Blue Pillar - Penncat to install per above |  |  | 0 | 0 |  |  | 0
Contracted Monitoring Expense | 1800 | /Year | Engineering |  |  |  |  | 0 | Barr Engineering design & stamps |  |  | 0 | 0 |  | 0 | 0
Insurance Cost Factor | 4985.6 | 0.4% | Interconnection |  |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0
Average Annual Personal Property Tax | 0 | /Year | Transformer moves |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
| 0% | Tax Rate | Other utility Costs |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Annual Cost Escalation Rate (per Treasury) | 2.25% | /Year | Arc Flash Study |  |  |  |  | 0 | Included in Penncat package |  |  | 0 | 0 |  | 0
|  |  | SPCC - spill containment plan by JEM |  |  |  |  | 0 | Not needed - gas package |  |  | 0 | 0 |  | 0
Electrical Service Size | 1200 | Amp | 3rd Party Project Mngmnt Labor |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
|  |  | 3rd Party Project Mngmnt Travel |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Generator Manufacturer | Caterpillar |  | 3rd Party Project Mngmnt Commissions |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Generator Model Number | G3516C |  | 3rd Party Equipment Finance Costs |  |  |  |  | 0 | legal, inspection, title…fees @ close |  |  | 0 |  | 0 | 0
Minimum Prime Rating | 3484.8 | kW | Internal Legal |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Genset Prime Rating | 1000 | kW | Project Mngmnt Travel |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Genset Standby Rating |  | kW | Project Mngmnt hours |  | 80 | 200 | 16000 | 16000 |  |  |  | 16000 | 16000 |  | 16000
Number of Generators | 1 |  | PROCESS Mngmnt hours |  | 80 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0
|  |  | Mngmnt 3rd Party Finance |  | 80 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0
Switchgear Manufacturer | States |  | Sales staff Hours |  | 80 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0
SwitchGear Size | 1200 | Amp | Incentive Comp |  |  | 0% | 0 | 0 |  |  |  | 0 |  | 0 | 0
SwitchGear Type | 4 |  | Markup |  |  | 0% | 0
Types: 1-Open, 2-CTTS, 3-Soft switch , 4-Breaker style Soft |  |  | Contingency |  |  | 2.5% | 30400 | 30400 |  |  |  | 30400 | 30400 |  | 30400
Enclosure Manufacturer | Custom |  | Total Installed Cost |  |  |  | 1246400 | 1246400 |  |  | Unrecoverable Install Costs | 46400 | 1246400 | 0 | 1246400 | 0
Fuel Tank Size | N/A | gallons |  |  |  |  | #DIV/0! | #DIV/0! | per kW
[10 empty] | kWh Calculation/Fuel Calculation |  |  |  |  | Monthly Customer Payments
Customer Pays for ALL Fuel | Yes | Yes or No | [7 empty] | Fuel Price Used |  | 3.8 |  |  | 0 | 0
Annual Control Hours | 40 | hrs | [7 empty] | Less Base Fuel Price |  | -2
Fuel Cost Per Gallon S:FUEL PRICES | 3.8 | gal | [7 empty] | Fuel Price Increase |  | 1.8
Average Load Factor for Calculating Fuel Usage | 70% | [8 empty] | # of $0.10 increments |  | 18
Cost to generate a kWh using fuel cost above | 0.2571 | per kWh | [7 empty] | kWh incremental price |  | 0.01
Fuel Cost Estimate | 0 | [8 empty] | kWh Rate Adjustment |  | 0.18
Annual kWh | 28000 | [8 empty] | kWh Base Rate |  | 0.084
Rate charged to Customer per kWh | 0.264 | index to fuel $ | [7 empty] | Total kWh Rate |  | 0.264
kWh (Fuel) Revenue to EA | 0 | [8 empty] | Note:
Note on B8: NRGAdmin: Get these from Nick Casavan for Final Proposal. Not necessary for budgetary.
Note on B11: NRGAdmin: Budgetary for ERCOT is $67/kw/yr. Must be calc'd for final proposal.
Note on B12: NRGAdmin: This is last. Increase this number until NRG STD IRR is > 9.0%.
Note on B17: NRGAdmin: Get from Gina Larson Contracted maintenance $3900/year 1MW $3700/year 900kW
Note on B18: NRGAdmin: Get from Gina Larson 2.5 hours per engine, per month, @ $80/hour for general/ environmental inspections
Note on B19: NRGAdmin: Get from Gina Larson $125 for initial, $25 for each additional, per month.
Note on B21: NRGAdmin: Does this state charge personal property tax on generator equipment?
Note on B29: Phil Kairis: Uses 25% design margin. Typical range is 15-25% based on type of load and type of switch.
Note on M42: NRGAdmin: Was $1.20
Note on M45: NRGAdmin: Was $0.007

## NRG Std
|  | STANDARD NRG CASH FLOW MODEL | [8 empty] | IRR |  | 32.24% |  | Terminal Value Analysis
[11 empty] | NPV |  | 1400621.3609 |  | PV (no NRG capital) |  | 2647021.3609
[11 empty] | Pre-Tax Cash Flow |  | 4022667.7175 |  | PV Terminal Value |  | 375933.4838
|  |  | 2.2 | Project: |  | Sample w/Swarthmore Data |  |  |  |  | After-Tax Cash Flow |  | 2514167.3234 |  | Ratio must be < 25% |  | 14.2%
NRG Reliability Solutions |  |  | 2.5 |  |  | Additional Description |  |  |  |  | Project EBITDA |  | 5269067.7175
|  |  | 113.6% | [7 empty] | Annual EBITDA |  | 526906.7717
INPUT ASSUMPTIONS | [5 empty] | Project | Equipment | Customer | Other | Operating |  | Dep'n Expense | Tax Basis | Taxes | Tax Paid | Beginning | Incremental | Defered Tax | AFTER-TAX
Cash Flows per Standard NRG MODEL |  |  |  | Yr | Month | Cost | Sales Proceeds | Revenue | Revenue | Expense | EBITDA | (15 yr MACRS) | EBIT | Tax Efficiency | Defer Tax | Defered tax | Defered tax | Balance | CASH FLOW
Purchase and finance internally |  |  |  | 0 | 0 | -1246400 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1246400
After-tax discounted cash flow model |  |  |  | 1 | 1 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | 0 | -11937.45 | -11937.45 | 37026.2
Assets on NRG books |  |  |  | 1 | 2 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -11937.45 | -11937.45 | -23874.9 | 37026.2
|  |  |  | 1 | 3 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -23874.9 | -11937.45 | -35812.35 | 37026.2
|  |  |  | 1 | 4 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -35812.35 | -11937.45 | -47749.8 | 37026.2
|  |  |  | 1 | 5 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -47749.8 | -11937.45 | -59687.25 | 37026.2
Project Costs |  |  |  | 1 | 6 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -59687.25 | -11937.45 | -71624.7 | 37026.2
Customer Purchase Price |  |  | 1246400 | 1 | 7 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -71624.7 | -11937.45 | -83562.15 | 37026.2
NRG Project Capital |  |  | 1246400 | 1 | 8 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -83562.15 | -11937.45 | -95499.6 | 37026.2
NRG Project Expense |  |  | 0 | 1 | 9 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -95499.6 | -11937.45 | -107437.05 | 37026.2
Recoverable Cost |  |  | 1200000 | 1 | 10 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -107437.05 | -11937.45 | -119374.5 | 37026.2
Defer Taxes to 2026 |  | 96 |  | 1 | 11 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -119374.5 | -11937.45 | -131311.95 | 37026.2
2017-12-31 | 2026-01-01 |  |  | 1 | 12 | 0 | 0 | 0 | 38116.6667 | -1090.4667 | 37026.2 | -5193 | 31833.2 | -11937.45 | 0 | -131311.95 | -11937.45 | -143249.4 | 37026.2
|  |  |  | 2 | 13 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -143249.4 | -10175.4992 | -153424.8992 | 37001.6645
Rates and Factors |  | Annual | Monthly | 2 | 14 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -153424.8992 | -10175.4992 | -163600.3984 | 37001.6645
Hurdle Rate |  | 8.5% | 0.7083% | 2 | 15 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -163600.3984 | -10175.4992 | -173775.8976 | 37001.6645
Lease Financing Residual |  | 35% |  | 2 | 16 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -173775.8976 | -10175.4992 | -183951.3968 | 37001.6645
NRG Discount Rate |  | 8% | 0.6667% | 2 | 17 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -183951.3968 | -10175.4992 | -194126.8959 | 37001.6645
NRG Income Tax Rate |  | 37.5% |  | 2 | 18 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -194126.8959 | -10175.4992 | -204302.3951 | 37001.6645
Depreciation Life/Method |  | 15 Yr | MACRS | 2 | 19 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -204302.3951 | -10175.4992 | -214477.8943 | 37001.6645
Financing Lease Term |  | 10 | 120 | 2 | 20 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -214477.8943 | -10175.4992 | -224653.3935 | 37001.6645
|  |  |  | 2 | 21 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -224653.3935 | -10175.4992 | -234828.8927 | 37001.6645
Salvage Value % of Cost |  |  |  | 2 | 22 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -234828.8927 | -10175.4992 | -245004.3919 | 37001.6645
10 Year |  | 70% | 840000 | 2 | 23 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -245004.3919 | -10175.4992 | -255179.8911 | 37001.6645
15 Year |  | 25% | 300000 | 2 | 24 | 0 | 0 | 0 | 38116.6667 | -1115.0022 | 37001.6645 | -9867 | 27134.6645 | -10175.4992 | 0 | -255179.8911 | -10175.4992 | -265355.3903 | 37001.6645
20 Year |  | 10% | 120000 | 3 | 25 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -265355.3903 | -10535.8414 | -275891.2316 | 36976.577
|  |  |  | 3 | 26 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -275891.2316 | -10535.8414 | -286427.073 | 36976.577
Customer Revenue |  | Annual | Monthly | 3 | 27 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -286427.073 | -10535.8414 | -296962.9143 | 36976.577
Customer Payments |  | 0 | 0 | 3 | 28 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -296962.9143 | -10535.8414 | -307498.7557 | 36976.577
kWh Billing Revenue |  | 0 | 0 | 3 | 29 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -307498.7557 | -10535.8414 | -318034.597 | 36976.577
Total Customer Revenue |  | 0 | 0 | 3 | 30 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -318034.597 | -10535.8414 | -328570.4384 | 36976.577
Other Revenue |  | Annual | Monthly | 3 | 31 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -328570.4384 | -10535.8414 | -339106.2797 | 36976.577
ERCOT / Utility Revenue |  | 457400 | 38116.6667 | 3 | 32 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -339106.2797 | -10535.8414 | -349642.1211 | 36976.577
Other Revenue |  | 0 | 0 | 3 | 33 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -349642.1211 | -10535.8414 | -360177.9625 | 36976.577
Total Other Revenue |  | 457400 | 38116.6667 | 3 | 34 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -360177.9625 | -10535.8414 | -370713.8038 | 36976.577
|  |  |  | 3 | 35 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -370713.8038 | -10535.8414 | -381249.6452 | 36976.577
Operating Expenses |  | Annual | Monthly | 3 | 36 | 0 | 0 | 0 | 38116.6667 | -1140.0897 | 36976.577 | -8881 | 28095.577 | -10535.8414 | 0 | -381249.6452 | -10535.8414 | -391785.4865 | 36976.577
Fuel Cost |  | 0 | 0 | 4 | 37 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -391785.4865 | -10857.3468 | -402642.8334 | 36950.9249
Maintenance Expense |  | 6300 | 525 | 4 | 38 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -402642.8334 | -10857.3468 | -413500.1802 | 36950.9249
Monitoring Expense |  | 1800 | 150 | 4 | 39 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -413500.1802 | -10857.3468 | -424357.5271 | 36950.9249
Insurance Expense |  | 4985.6 | 415.4667 | 4 | 40 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -424357.5271 | -10857.3468 | -435214.8739 | 36950.9249
Property Tax Expense |  | 0 | 0 | 4 | 41 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -435214.8739 | -10857.3468 | -446072.2208 | 36950.9249
Total Expenses |  | 13085.6 | 1090.4667 | 4 | 42 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -446072.2208 | -10857.3468 | -456929.5676 | 36950.9249
|  |  |  | 4 | 43 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -456929.5676 | -10857.3468 | -467786.9145 | 36950.9249
Other Known Cash Outflows |  |  |  | 4 | 44 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -467786.9145 | -10857.3468 | -478644.2613 | 36950.9249
Year | 15 Yr MACRS | Repairs | Other | 4 | 45 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -478644.2613 | -10857.3468 | -489501.6082 | 36950.9249
1 | 5% | 0 | 0 | 4 | 46 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -489501.6082 | -10857.3468 | -500358.955 | 36950.9249
2 | 9.5% | 0 | 0 | 4 | 47 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -500358.955 | -10857.3468 | -511216.3019 | 36950.9249
3 | 8.55% | 0 | 0 | 4 | 48 | 0 | 0 | 0 | 38116.6667 | -1165.7417 | 36950.9249 | -7998 | 28952.9249 | -10857.3468 | 0 | -511216.3019 | -10857.3468 | -522073.6487 | 36950.9249
4 | 7.7% | 0 | 0 | 5 | 49 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -522073.6487 | -11147.5109 | -533221.1596 | 36924.6957
5 | 6.93% | 0 | 0 | 5 | 50 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -533221.1596 | -11147.5109 | -544368.6705 | 36924.6957
6 | 6.23% | 0 | 0 | 5 | 51 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -544368.6705 | -11147.5109 | -555516.1814 | 36924.6957
7 | 5.9% | 0 | 0 | 5 | 52 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -555516.1814 | -11147.5109 | -566663.6923 | 36924.6957
8 | 5.9% | 0 | 0 | 5 | 53 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -566663.6923 | -11147.5109 | -577811.2032 | 36924.6957
9 | 5.91% | 0 | 0 | 5 | 54 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -577811.2032 | -11147.5109 | -588958.7142 | 36924.6957
10 | 5.9% | 0 | 0 | 5 | 55 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -588958.7142 | -11147.5109 | -600106.2251 | 36924.6957
11 | 5.91% |  |  | 5 | 56 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -600106.2251 | -11147.5109 | -611253.736 | 36924.6957
12 | 5.9% |  |  | 5 | 57 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -611253.736 | -11147.5109 | -622401.2469 | 36924.6957
13 | 5.91% |  |  | 5 | 58 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -622401.2469 | -11147.5109 | -633548.7578 | 36924.6957
14 | 5.9% |  |  | 5 | 59 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -633548.7578 | -11147.5109 | -644696.2687 | 36924.6957
15 | 5.91% |  |  | 5 | 60 | 0 | 0 | 0 | 38116.6667 | -1191.9709 | 36924.6957 | -7198 | 29726.6957 | -11147.5109 | 0 | -644696.2687 | -11147.5109 | -655843.7796 | 36924.6957
16 | 2.95% |  |  | 6 | 61 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -655843.7796 | -11410.0786 | -667253.8582 | 36897.8764
17 |  |  |  | 6 | 62 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -667253.8582 | -11410.0786 | -678663.9369 | 36897.8764
18 |  |  |  | 6 | 63 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -678663.9369 | -11410.0786 | -690074.0155 | 36897.8764
19 |  |  |  | 6 | 64 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -690074.0155 | -11410.0786 | -701484.0942 | 36897.8764
20 |  |  |  | 6 | 65 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -701484.0942 | -11410.0786 | -712894.1728 | 36897.8764
|  |  |  | 6 | 66 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -712894.1728 | -11410.0786 | -724304.2515 | 36897.8764
|  |  |  | 6 | 67 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -724304.2515 | -11410.0786 | -735714.3301 | 36897.8764
|  |  |  | 6 | 68 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -735714.3301 | -11410.0786 | -747124.4088 | 36897.8764
|  |  |  | 6 | 69 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -747124.4088 | -11410.0786 | -758534.4874 | 36897.8764
|  |  |  | 6 | 70 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -758534.4874 | -11410.0786 | -769944.5661 | 36897.8764
|  |  |  | 6 | 71 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -769944.5661 | -11410.0786 | -781354.6447 | 36897.8764
|  |  |  | 6 | 72 | 0 | 0 | 0 | 38116.6667 | -1218.7903 | 36897.8764 | -6471 | 30426.8764 | -11410.0786 | 0 | -781354.6447 | -11410.0786 | -792764.7234 | 36897.8764
|  |  |  | 7 | 73 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -792764.7234 | -11528.4201 | -804293.1435 | 36870.4536
|  |  |  | 7 | 74 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -804293.1435 | -11528.4201 | -815821.5636 | 36870.4536
|  |  |  | 7 | 75 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -815821.5636 | -11528.4201 | -827349.9837 | 36870.4536
|  |  |  | 7 | 76 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -827349.9837 | -11528.4201 | -838878.4038 | 36870.4536
|  |  |  | 7 | 77 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -838878.4038 | -11528.4201 | -850406.8239 | 36870.4536
|  |  |  | 7 | 78 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -850406.8239 | -11528.4201 | -861935.244 | 36870.4536
|  |  |  | 7 | 79 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -861935.244 | -11528.4201 | -873463.6641 | 36870.4536
|  |  |  | 7 | 80 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -873463.6641 | -11528.4201 | -884992.0842 | 36870.4536
|  |  |  | 7 | 81 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -884992.0842 | -11528.4201 | -896520.5043 | 36870.4536
|  |  |  | 7 | 82 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -896520.5043 | -11528.4201 | -908048.9244 | 36870.4536
|  |  |  | 7 | 83 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -908048.9244 | -11528.4201 | -919577.3445 | 36870.4536
|  |  |  | 7 | 84 | 0 | 0 | 0 | 38116.6667 | -1246.213 | 36870.4536 | -6128 | 30742.4536 | -11528.4201 | 0 | -919577.3445 | -11528.4201 | -931105.7646 | 36870.4536
|  |  |  | 8 | 85 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -931105.7646 | -11517.9052 | -942623.6698 | 36842.4138
|  |  |  | 8 | 86 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -942623.6698 | -11517.9052 | -954141.575 | 36842.4138
|  |  |  | 8 | 87 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -954141.575 | -11517.9052 | -965659.4802 | 36842.4138
|  |  |  | 8 | 88 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -965659.4802 | -11517.9052 | -977177.3854 | 36842.4138
|  |  |  | 8 | 89 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -977177.3854 | -11517.9052 | -988695.2906 | 36842.4138
|  |  |  | 8 | 90 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -988695.2906 | -11517.9052 | -1000213.1957 | 36842.4138
|  |  |  | 8 | 91 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -1000213.1957 | -11517.9052 | -1011731.1009 | 36842.4138
|  |  |  | 8 | 92 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -1011731.1009 | -11517.9052 | -1023249.0061 | 36842.4138
|  |  |  | 8 | 93 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -1023249.0061 | -11517.9052 | -1034766.9113 | 36842.4138
|  |  |  | 8 | 94 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -1034766.9113 | -11517.9052 | -1046284.8165 | 36842.4138
|  |  |  | 8 | 95 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | 0 | -1046284.8165 | -11517.9052 | -1057802.7217 | 36842.4138
|  |  |  | 8 | 96 | 0 | 0 | 0 | 38116.6667 | -1274.2528 | 36842.4138 | -6128 | 30714.4138 | -11517.9052 | -1069320.6268 | -1057802.7217 | 1057802.7217 | 0 | -1032478.213
|  |  |  | 9 | 97 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 98 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 99 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 100 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 101 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 102 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 103 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 104 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 105 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 106 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 107 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 9 | 108 | 0 | 0 | 0 | 38116.6667 | -1302.9235 | 36813.7431 | -6139 | 30674.7431 | -11503.0287 | -11503.0287 | 0 | 0 | 0 | 25310.7145
|  |  |  | 10 | 109 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 110 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 111 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 112 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 113 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 114 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 115 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 116 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 117 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 118 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 119 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 10 | 120 | 0 | 0 | 0 | 38116.6667 | -1332.2393 | 36784.4274 | -6128 | 30656.4274 | -11496.1603 | -11496.1603 | 0 | 0 | 0 | 25288.2671
|  |  |  | 11 | 121 | 0 | 840000 | 0 | 0 | 0 | 840000 | 0 | 435172 | -163189.5 | -163189.5 | 0 | 0 | 0 | 676810.5
|  |  |  | 11 | 122
|  |  |  | 11 | 123
|  |  |  | 11 | 124
|  |  |  | 11 | 125
|  |  |  | 11 | 126
|  |  |  | 11 | 127
|  |  |  | 11 | 128
|  |  |  | 11 | 129
|  |  |  | 11 | 130
|  |  |  | 11 | 131
|  |  |  | 11 | 132
|  |  |  | 12 | 133
|  |  |  | 12 | 134
|  |  |  | 12 | 135
|  |  |  | 12 | 136
|  |  |  | 12 | 137
|  |  |  | 12 | 138
|  |  |  | 12 | 139
|  |  |  | 12 | 140
|  |  |  | 12 | 141
|  |  |  | 12 | 142
|  |  |  | 12 | 143
|  |  |  | 12 | 144
|  |  |  | 13 | 145
|  |  |  | 13 | 146
|  |  |  | 13 | 147
|  |  |  | 13 | 148
|  |  |  | 13 | 149
|  |  |  | 13 | 150
|  |  |  | 13 | 151
|  |  |  | 13 | 152
|  |  |  | 13 | 153
|  |  |  | 13 | 154
|  |  |  | 13 | 155
|  |  |  | 13 | 156
|  |  |  | 14 | 157
|  |  |  | 14 | 158
|  |  |  | 14 | 159
|  |  |  | 14 | 160
|  |  |  | 14 | 161
|  |  |  | 14 | 162
|  |  |  | 14 | 163
|  |  |  | 14 | 164
|  |  |  | 14 | 165
|  |  |  | 14 | 166
|  |  |  | 14 | 167
|  |  |  | 14 | 168
|  |  |  | 15 | 169
|  |  |  | 15 | 170
|  |  |  | 15 | 171
|  |  |  | 15 | 172
|  |  |  | 15 | 173
|  |  |  | 15 | 174
|  |  |  | 15 | 175
|  |  |  | 15 | 176
|  |  |  | 15 | 177
|  |  |  | 15 | 178
|  |  |  | 15 | 179
|  |  |  | 15 | 180
|  |  |  | 16 | 181
|  |  |  | 16 | 182
|  |  |  | 16 | 183
|  |  |  | 16 | 184
|  |  |  | 16 | 185
|  |  |  | 16 | 186
|  |  |  | 16 | 187
|  |  |  | 16 | 188
|  |  |  | 16 | 189
|  |  |  | 16 | 190
|  |  |  | 16 | 191
|  |  |  | 16 | 192
|  |  |  | 17 | 193
|  |  |  | 17 | 194
|  |  |  | 17 | 195
|  |  |  | 17 | 196
|  |  |  | 17 | 197
|  |  |  | 17 | 198
|  |  |  | 17 | 199
|  |  |  | 17 | 200
|  |  |  | 17 | 201
|  |  |  | 17 | 202
|  |  |  | 17 | 203
|  |  |  | 17 | 204
|  |  |  | 18 | 205
|  |  |  | 18 | 206
|  |  |  | 18 | 207
|  |  |  | 18 | 208
|  |  |  | 18 | 209
|  |  |  | 18 | 210
|  |  |  | 18 | 211
|  |  |  | 18 | 212
|  |  |  | 18 | 213
|  |  |  | 18 | 214
|  |  |  | 18 | 215
|  |  |  | 18 | 216
|  |  |  | 19 | 217
|  |  |  | 19 | 218
|  |  |  | 19 | 219
|  |  |  | 19 | 220
|  |  |  | 19 | 221
|  |  |  | 19 | 222
|  |  |  | 19 | 223
|  |  |  | 19 | 224
|  |  |  | 19 | 225
|  |  |  | 19 | 226
|  |  |  | 19 | 227
|  |  |  | 19 | 228
|  |  |  | 20 | 229
|  |  |  | 20 | 230
|  |  |  | 20 | 231
|  |  |  | 20 | 232
|  |  |  | 20 | 233
|  |  |  | 20 | 234
|  |  |  | 20 | 235
|  |  |  | 20 | 236
|  |  |  | 20 | 237
|  |  |  | 20 | 238
|  |  |  | 20 | 239
|  |  |  | 20 | 240
|  |  |  | 21 | 241
[6 empty] | -1246400 | 840000 | 0 | 4574000 | -144932.2825 | 5269067.7175 | -841572 | 4022667.7175 | -1508500.394 | -1508500.394 |  |  |  | 2514167.3234
[6 empty] | Project | Equipment | Customer | Other | Operating |  | Dep'n Expense | Tax Basis | Taxes | Tax Paid |  |  |  | AFTER-TAX
[6 empty] | Cost | Sales Proceeds | Revenue | Revenue | Expense | EBITDA | (15 yr MACRS) | EBIT | Tax Efficiency | Defer Tax |  |  |  | CASH FLOW
Cash In
[6 empty] | Equipment Sales Proceeds | 840000 |  |  |  |  | Tax Calc on Depreciation Recapture
[6 empty] | Customer Revenue | 0 |  |  |  |  | 1246400 | Basis
[6 empty] | Other Revenue | 4574000 |  |  |  |  | -841572 | Cumulative Dep'n
[7 empty] | 5414000 |  |  |  |  | 404828 | Net Book Value
|  |  |  | Cash Out | [7 empty] | 840000 | Sales Proceeds
[6 empty] | Project Cost | -1246400 |  |  |  |  | 435172 | Gain on Sale
[6 empty] | Operating Expenses | -144932.2825 |  |  |  |  | 163189.5 | Tax on Sale
-1391332.2825
Pre-Tax Cash Flow
4022667.7175
[6 empty] | Income Taxes | -1508500.394 | -37.5% | Tax Rate
After-Tax Cash Flow
2514167.3234
NPV
[7 empty] | 1400621.3609 | 8% | Discount Rate
Note on Q11: NRGAdmin: Tax Effect from project expenses.
Note on J132: NRGAdmin: Salvage Value
Note on P132: NRGAdmin: See side calc for tax on sale. Recapture.