## Benefits Summary
| KEY |  |  | MANUAL INPUTS
| Input Type | Color |  | Cell | Notes
| Manual Input |  |  | B10,B11,B17 | Based on historical volumes, peaks, and trends
| Based on values in separate tab |  |  | B12, B18 | Current contracted rates for supply
| Based on values in separate cell |  |  | B19 | Average delivery rate
|  |  |  | B24:B27 | Generator size, average peak load, suggested operating hours, current Load Factor
| Assumptions |  |  | Current Baseline Energy Costs | Item | NRG Energy Costs | Item
| Current Electric Consumption (kWh) | 0 |  | Total billed usage | 0 | Total billed usage | -584000
| 2016 Peak Load (kW) | 2252.42 |  | Total on-site energy generated |  | Total on-site energy generated | 584000
| Current electric supply costs ($/kWh) | 0.0583
| Current electric delivery costs ($/kWh) | 0.0971 |  | Annual Electric Costs | 0 | Annual Electric Costs | 87541.6
| Future electric supply costs ($/kWh) | 0.056 |  | Annual Gas Costs | 0 | Annual Gas Costs | 0
| Future electric delivery costs ($/kWh) | 0.0939
|  |  |  | Total Annual Energy costs | 0 | Total Annual Energy | 87541.6
| Current est. annual gas usage (Dth) | 0
| Current gas supply costs ($/Dth) | 0 |  | Market Revenue (DR) Summary
| Current gas delivery costs ($/Dth) | 0
| Total Future est. annual gas usage (Dth) | 0 |  | Emergency DR | 72000
| Future gas supply costs ($/Dth) | 0 |  | Synch DR
| Future gas delivery costs ($/Dth) | 0 |  | Economic DR - Highest LMP | 0
|  |  |  | Economic DR - Highest Load | 0
| Installed Generator Set Capacity | 400 |  | Economic DR - Highest Revenue | 0
| Average Estimated Gen Operating Load | 400 |  | NRG's Share of DR Revenue (LMP) | 72000
| Annual Generator Set Operating Hours | 1460 |  | NRG's Share of DR Revenue (Load) | 72000
| Customer Load Factor | 100% |  | NRG's Share of DR Revenue (Rev) | 72000
DR REVENUE DISCOUNTS
| Factors |  |  | DR Program | Actual Average | Imperfect LMP Match | Load Availability | Future Prices
| Customer Energy Cost Reduction | 0% | 0 | Emergency DR | 72000
| Effective E DR MWs | 0.4 |  | Synch DR
| Gas swing adder | 0% |  | Economic DR - Highest LMP |  | 60%
| Defer tax benefit | 2026-01-01 |  | Economic DR - Highest Load |  | 25% |  | 5%
Drop Down | NRG's Share of DR Revenue (LMP) | 72000 |  | Economic DR - Highest Revenue |  | 25% | 5% | 5%
| Cash Inflows |  |  | Project IRR | 25.72%
| Billed to Customer | 0 |  | NPV | 423400.2009
| DR Revenue | 72000 |  | Average Annual EBITDA | 184509.6363
| Total | 72000
| Cash Outflows |  |  | Reliability Service Agreement | 0 | 0%
| NRG Costs of Energy | 87541.6 |  | Advisory Services/Curtailment Solutions | 159541.6 | 100%
| Net Revenue | 159541.6
| From Brokering Energy | 87541.6

## Input
Input Page | Model Version | 2016-05-27 |  | 159541.6 |  |  |  | Project Cost
Customer Information | [6 empty] | Cost | NRG |  |  |  |  | PowerSAM | PowerSAM | Tax | Tax
Company Name | Sample w/LeFrak NYC Residential Bldg | [5 empty] | Estimate | Cost Basis | Comments |  |  |  | Capital | Expense | Personal | Land Improve
Street Address |  |  | Generator |  |  |  | 480000 | 480000 | Includes Catalytic Converter, Start-up |  |  |  | 480000 |  | 480000
City, State Zip |  |  | Switchgear |  |  |  |  | 0 | Per States Electric, w/Start-up |  |  | 0 | 0 |  | 0
County |  |  | Enclosure |  |  |  |  | 0 | Custom enclosure |  |  |  | 0 |  | 0
Sales Tax Rate | 4.5% |  | Electrical installation |  |  |  |  | 0 | Electric: short circuit, plans, approvals, etc.. |  |  | 0 | 0 |  | 0 | 0
Capital Order # / Cost Center # |  |  | Main service disconnect |  |  |  |  | 0 | Mechanical |  |  | 0 | 0 |  | 0
Customer Peak Demand | 6481.92 |  | CT can and/or connection cabinets |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Projected In Service Date | 2017-12-31 |  | Sitework and concrete pads |  |  |  |  | 0 | Sitework / Construction |  |  | 0 | 0 |  |  | 0
Annual Revenue / Utility Savings | 159541.6 | /Year | Crane |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Annual Customer Payments | 0 | /Year | Initial Fuel Fill |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Savings back to Customer | 0 | /Year | Other |  |  |  |  | 0 | Emissions permitting - PA DEP |  |  | 0 | 0
Genset kWh Billing (from DG worksheet) | 0 | /Year | Other |  |  |  |  | 0 | Sound permitting - Swarthmore City Borough |  |  | 0 | 0
|  |  | Other |  |  |  |  | 0 | Utility permitting - PECO |  |  | 0 | 0
Operating Expenses |  |  | Monitoring hardware, setup and install |  |  |  |  | 0 | NG Fuel Meters for emissions reporting |  |  | 0 | 0 |  | 0
Contracted Maintenance Expense | 1560 | /Year | Rental generator / cable costs |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Internal NRG Maintenance Labor | 2400 | /Year | Phone line installation and connection |  |  |  |  | 0 | Blue Pillar - Penncat to install per above |  |  | 0 | 0 |  |  | 0
Contracted Monitoring Expense | 1800 | /Year | Engineering |  |  |  |  | 0 | Barr Engineering design & stamps |  |  | 0 | 0 |  | 0 | 0
Insurance Cost Factor | 2033.6 | 0.4% | Interconnection |  |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0
Average Annual Personal Property Tax | 0 | /Year | Transformer moves |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
| 0% | Tax Rate | Other utility Costs |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Annual Cost Escalation Rate (per Treasury) | 2.25% | /Year | Arc Flash Study |  |  |  |  | 0 | Included in Penncat package |  |  | 0 | 0 |  | 0
|  |  | SPCC - spill containment plan by JEM |  |  |  |  | 0 | Not needed - gas package |  |  | 0 | 0 |  | 0
Electrical Service Size | 1200 | Amp | 3rd Party Project Mngmnt Labor |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
|  |  | 3rd Party Project Mngmnt Travel |  |  |  |  | 0 |  |  |  | 0 | 0 |  | 0
Generator Manufacturer | Caterpillar |  | 3rd Party Project Mngmnt Commissions |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Generator Model Number | G3516C |  | 3rd Party Equipment Finance Costs |  |  |  |  | 0 | legal, inspection, title…fees @ close |  |  | 0 |  | 0 | 0
Minimum Prime Rating | 8102.4 | kW | Internal Legal |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Genset Prime Rating | 400 | kW | Project Mngmnt Travel |  |  |  |  | 0 |  |  |  | 0 |  | 0 | 0
Genset Standby Rating |  | kW | Project Mngmnt hours |  | 80 | 200 | 16000 | 16000 |  |  |  | 16000 | 16000 |  | 16000
Number of Generators | 1 |  | PROCESS Mngmnt hours |  | 80 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0
|  |  | Mngmnt 3rd Party Finance |  | 80 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0
Switchgear Manufacturer | States |  | Sales staff Hours |  | 80 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0
SwitchGear Size | 1200 | Amp | Incentive Comp |  |  | 0% | 0 | 0 |  |  |  | 0 |  | 0 | 0
SwitchGear Type | 4 |  | Markup |  |  | 0% | 0
Types: 1-Open, 2-CTTS, 3-Soft switch , 4-Breaker style Soft |  |  | Contingency |  |  | 2.5% | 12400 | 12400 |  |  |  | 12400 | 12400 |  | 12400
Enclosure Manufacturer | Custom |  | Total Installed Cost |  |  |  | 508400 | 508400 |  |  | Unrecoverable Install Costs | 28400 | 508400 | 0 | 508400 | 0
Fuel Tank Size | N/A | gallons |  |  |  |  | #DIV/0! | #DIV/0! | per kW
[10 empty] | kWh Calculation/Fuel Calculation |  |  |  |  | Monthly Customer Payments
Customer Pays for ALL Fuel | Yes | Yes or No | [7 empty] | Fuel Price Used |  | 3.8 |  |  | 0 | 0
Annual Control Hours | 40 | hrs | [7 empty] | Less Base Fuel Price |  | -2
Fuel Cost Per Gallon S:FUEL PRICES | 3.8 | gal | [7 empty] | Fuel Price Increase |  | 1.8
Average Load Factor for Calculating Fuel Usage | 70% | [8 empty] | # of $0.10 increments |  | 18
Cost to generate a kWh using fuel cost above | 0.2571 | per kWh | [7 empty] | kWh incremental price |  | 0.01
Fuel Cost Estimate | 0 | [8 empty] | kWh Rate Adjustment |  | 0.18
Annual kWh | 11200 | [8 empty] | kWh Base Rate |  | 0.084
Rate charged to Customer per kWh | 0.264 | index to fuel $ | [7 empty] | Total kWh Rate |  | 0.264
kWh (Fuel) Revenue to EA | 0 | [8 empty] | Note:
Note on B8: NRGAdmin: Get these from Nick Casavan for Final Proposal. Not necessary for budgetary.
Note on B11: NRGAdmin: Budgetary for ERCOT is $67/kw/yr. Must be calc'd for final proposal.
Note on B12: NRGAdmin: This is last. Increase this number until NRG STD IRR is > 9.0%.
Note on B17: NRGAdmin: Get from Gina Larson Contracted maintenance $3900/year 1MW $3700/year 900kW
Note on B18: NRGAdmin: Get from Gina Larson 2.5 hours per engine, per month, @ $80/hour for general/ environmental inspections
Note on B19: NRGAdmin: Get from Gina Larson $125 for initial, $25 for each additional, per month.
Note on B21: NRGAdmin: Does this state charge personal property tax on generator equipment?
Note on B29: Phil Kairis: Uses 25% design margin. Typical range is 15-25% based on type of load and type of switch.
Note on M42: NRGAdmin: Was $1.20
Note on M45: NRGAdmin: Was $0.007

## NRG Std
|  | STANDARD NRG CASH FLOW MODEL | [8 empty] | IRR |  | 25.72% |  | Terminal Value Analysis
[11 empty] | NPV |  | 423400.2009 |  | PV (no NRG capital) |  | 931800.2009
[11 empty] | Pre-Tax Cash Flow |  | 1336696.3634 |  | PV Terminal Value |  | 150373.3935
|  |  | 2.2 | Project: |  | Sample w/Swarthmore Data |  |  |  |  | After-Tax Cash Flow |  | 835435.2271 |  | Ratio must be < 25% |  | 16.14%
NRG Reliability Solutions |  |  | 2.5 |  |  | Additional Description |  |  |  |  | Project EBITDA |  | 1845096.3634
|  |  | 113.6% | [7 empty] | Annual EBITDA |  | 184509.6363
INPUT ASSUMPTIONS | [5 empty] | Project | Equipment | Customer | Other | Operating |  | Dep'n Expense | Tax Basis | Taxes | Tax Paid | Beginning | Incremental | Defered Tax | AFTER-TAX
Cash Flows per Standard NRG MODEL |  |  |  | Yr | Month | Cost | Sales Proceeds | Revenue | Revenue | Expense | EBITDA | (15 yr MACRS) | EBIT | Tax Efficiency | Defer Tax | Defered tax | Defered tax | Balance | CASH FLOW
Purchase and finance internally |  |  |  | 0 | 0 | -508400 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -508400
After-tax discounted cash flow model |  |  |  | 1 | 1 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | 0 | -3947.875 | -3947.875 | 12645.6667
Assets on NRG books |  |  |  | 1 | 2 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -3947.875 | -3947.875 | -7895.75 | 12645.6667
|  |  |  | 1 | 3 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -7895.75 | -3947.875 | -11843.625 | 12645.6667
|  |  |  | 1 | 4 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -11843.625 | -3947.875 | -15791.5 | 12645.6667
|  |  |  | 1 | 5 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -15791.5 | -3947.875 | -19739.375 | 12645.6667
Project Costs |  |  |  | 1 | 6 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -19739.375 | -3947.875 | -23687.25 | 12645.6667
Customer Purchase Price |  |  | 508400 | 1 | 7 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -23687.25 | -3947.875 | -27635.125 | 12645.6667
NRG Project Capital |  |  | 508400 | 1 | 8 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -27635.125 | -3947.875 | -31583 | 12645.6667
NRG Project Expense |  |  | 0 | 1 | 9 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -31583 | -3947.875 | -35530.875 | 12645.6667
Recoverable Cost |  |  | 480000 | 1 | 10 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -35530.875 | -3947.875 | -39478.75 | 12645.6667
Defer Taxes to 2026 |  | 96 |  | 1 | 11 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -39478.75 | -3947.875 | -43426.625 | 12645.6667
2017-12-31 | 2026-01-01 |  |  | 1 | 12 | 0 | 0 | 0 | 13295.1333 | -649.4667 | 12645.6667 | -2118 | 10527.6667 | -3947.875 | 0 | -43426.625 | -3947.875 | -47374.5 | 12645.6667
|  |  |  | 2 | 13 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -47374.5 | -3227.2701 | -50601.7701 | 12631.0537
Rates and Factors |  | Annual | Monthly | 2 | 14 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -50601.7701 | -3227.2701 | -53829.0403 | 12631.0537
Hurdle Rate |  | 8.5% | 0.7083% | 2 | 15 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -53829.0403 | -3227.2701 | -57056.3104 | 12631.0537
Lease Financing Residual |  | 35% |  | 2 | 16 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -57056.3104 | -3227.2701 | -60283.5805 | 12631.0537
NRG Discount Rate |  | 8% | 0.6667% | 2 | 17 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -60283.5805 | -3227.2701 | -63510.8506 | 12631.0537
NRG Income Tax Rate |  | 37.5% |  | 2 | 18 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -63510.8506 | -3227.2701 | -66738.1208 | 12631.0537
Depreciation Life/Method |  | 15 Yr | MACRS | 2 | 19 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -66738.1208 | -3227.2701 | -69965.3909 | 12631.0537
Financing Lease Term |  | 10 | 120 | 2 | 20 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -69965.3909 | -3227.2701 | -73192.661 | 12631.0537
|  |  |  | 2 | 21 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -73192.661 | -3227.2701 | -76419.9311 | 12631.0537
Salvage Value % of Cost |  |  |  | 2 | 22 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -76419.9311 | -3227.2701 | -79647.2012 | 12631.0537
10 Year |  | 70% | 336000 | 2 | 23 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -79647.2012 | -3227.2701 | -82874.4714 | 12631.0537
15 Year |  | 25% | 120000 | 2 | 24 | 0 | 0 | 0 | 13295.1333 | -664.0797 | 12631.0537 | -4025 | 8606.0537 | -3227.2701 | 0 | -82874.4714 | -3227.2701 | -86101.7415 | 12631.0537
20 Year |  | 10% | 48000 | 3 | 25 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -86101.7415 | -3372.792 | -89474.5335 | 12616.1119
|  |  |  | 3 | 26 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -89474.5335 | -3372.792 | -92847.3254 | 12616.1119
Customer Revenue |  | Annual | Monthly | 3 | 27 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -92847.3254 | -3372.792 | -96220.1174 | 12616.1119
Customer Payments |  | 0 | 0 | 3 | 28 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -96220.1174 | -3372.792 | -99592.9093 | 12616.1119
kWh Billing Revenue |  | 0 | 0 | 3 | 29 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -99592.9093 | -3372.792 | -102965.7013 | 12616.1119
Total Customer Revenue |  | 0 | 0 | 3 | 30 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -102965.7013 | -3372.792 | -106338.4932 | 12616.1119
Other Revenue |  | Annual | Monthly | 3 | 31 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -106338.4932 | -3372.792 | -109711.2852 | 12616.1119
ERCOT / Utility Revenue |  | 159541.6 | 13295.1333 | 3 | 32 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -109711.2852 | -3372.792 | -113084.0771 | 12616.1119
Other Revenue |  | 0 | 0 | 3 | 33 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -113084.0771 | -3372.792 | -116456.8691 | 12616.1119
Total Other Revenue |  | 159541.6 | 13295.1333 | 3 | 34 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -116456.8691 | -3372.792 | -119829.661 | 12616.1119
|  |  |  | 3 | 35 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -119829.661 | -3372.792 | -123202.453 | 12616.1119
Operating Expenses |  | Annual | Monthly | 3 | 36 | 0 | 0 | 0 | 13295.1333 | -679.0215 | 12616.1119 | -3622 | 8994.1119 | -3372.792 | 0 | -123202.453 | -3372.792 | -126575.2449 | 12616.1119
Fuel Cost |  | 0 | 0 | 4 | 37 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -126575.2449 | -3502.0627 | -130077.3076 | 12600.8339
Maintenance Expense |  | 3960 | 330 | 4 | 38 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -130077.3076 | -3502.0627 | -133579.3704 | 12600.8339
Monitoring Expense |  | 1800 | 150 | 4 | 39 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -133579.3704 | -3502.0627 | -137081.4331 | 12600.8339
Insurance Expense |  | 2033.6 | 169.4667 | 4 | 40 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -137081.4331 | -3502.0627 | -140583.4958 | 12600.8339
Property Tax Expense |  | 0 | 0 | 4 | 41 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -140583.4958 | -3502.0627 | -144085.5585 | 12600.8339
Total Expenses |  | 7793.6 | 649.4667 | 4 | 42 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -144085.5585 | -3502.0627 | -147587.6212 | 12600.8339
|  |  |  | 4 | 43 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -147587.6212 | -3502.0627 | -151089.6839 | 12600.8339
Other Known Cash Outflows |  |  |  | 4 | 44 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -151089.6839 | -3502.0627 | -154591.7466 | 12600.8339
Year | 15 Yr MACRS | Repairs | Other | 4 | 45 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -154591.7466 | -3502.0627 | -158093.8093 | 12600.8339
1 | 5% | 0 | 0 | 4 | 46 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -158093.8093 | -3502.0627 | -161595.872 | 12600.8339
2 | 9.5% | 0 | 0 | 4 | 47 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -161595.872 | -3502.0627 | -165097.9347 | 12600.8339
3 | 8.55% | 0 | 0 | 4 | 48 | 0 | 0 | 0 | 13295.1333 | -694.2994 | 12600.8339 | -3262 | 9338.8339 | -3502.0627 | 0 | -165097.9347 | -3502.0627 | -168599.9974 | 12600.8339
4 | 7.7% | 0 | 0 | 5 | 49 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -168599.9974 | -3618.4546 | -172218.452 | 12585.2122
5 | 6.93% | 0 | 0 | 5 | 50 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -172218.452 | -3618.4546 | -175836.9066 | 12585.2122
6 | 6.23% | 0 | 0 | 5 | 51 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -175836.9066 | -3618.4546 | -179455.3611 | 12585.2122
7 | 5.9% | 0 | 0 | 5 | 52 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -179455.3611 | -3618.4546 | -183073.8157 | 12585.2122
8 | 5.9% | 0 | 0 | 5 | 53 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -183073.8157 | -3618.4546 | -186692.2702 | 12585.2122
9 | 5.91% | 0 | 0 | 5 | 54 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -186692.2702 | -3618.4546 | -190310.7248 | 12585.2122
10 | 5.9% | 0 | 0 | 5 | 55 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -190310.7248 | -3618.4546 | -193929.1793 | 12585.2122
11 | 5.91% |  |  | 5 | 56 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -193929.1793 | -3618.4546 | -197547.6339 | 12585.2122
12 | 5.9% |  |  | 5 | 57 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -197547.6339 | -3618.4546 | -201166.0885 | 12585.2122
13 | 5.91% |  |  | 5 | 58 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -201166.0885 | -3618.4546 | -204784.543 | 12585.2122
14 | 5.9% |  |  | 5 | 59 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -204784.543 | -3618.4546 | -208402.9976 | 12585.2122
15 | 5.91% |  |  | 5 | 60 | 0 | 0 | 0 | 13295.1333 | -709.9212 | 12585.2122 | -2936 | 9649.2122 | -3618.4546 | 0 | -208402.9976 | -3618.4546 | -212021.4521 | 12585.2122
16 | 2.95% |  |  | 6 | 61 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -212021.4521 | -3723.8396 | -215745.2917 | 12569.2389
17 |  |  |  | 6 | 62 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -215745.2917 | -3723.8396 | -219469.1313 | 12569.2389
18 |  |  |  | 6 | 63 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -219469.1313 | -3723.8396 | -223192.9709 | 12569.2389
19 |  |  |  | 6 | 64 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -223192.9709 | -3723.8396 | -226916.8105 | 12569.2389
20 |  |  |  | 6 | 65 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -226916.8105 | -3723.8396 | -230640.6501 | 12569.2389
|  |  |  | 6 | 66 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -230640.6501 | -3723.8396 | -234364.4897 | 12569.2389
|  |  |  | 6 | 67 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -234364.4897 | -3723.8396 | -238088.3293 | 12569.2389
|  |  |  | 6 | 68 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -238088.3293 | -3723.8396 | -241812.1689 | 12569.2389
|  |  |  | 6 | 69 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -241812.1689 | -3723.8396 | -245536.0085 | 12569.2389
|  |  |  | 6 | 70 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -245536.0085 | -3723.8396 | -249259.8481 | 12569.2389
|  |  |  | 6 | 71 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -249259.8481 | -3723.8396 | -252983.6877 | 12569.2389
|  |  |  | 6 | 72 | 0 | 0 | 0 | 13295.1333 | -725.8944 | 12569.2389 | -2639 | 9930.2389 | -3723.8396 | 0 | -252983.6877 | -3723.8396 | -256707.5273 | 12569.2389
|  |  |  | 7 | 73 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -256707.5273 | -3769.8399 | -260477.3672 | 12552.9063
|  |  |  | 7 | 74 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -260477.3672 | -3769.8399 | -264247.207 | 12552.9063
|  |  |  | 7 | 75 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -264247.207 | -3769.8399 | -268017.0469 | 12552.9063
|  |  |  | 7 | 76 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -268017.0469 | -3769.8399 | -271786.8868 | 12552.9063
|  |  |  | 7 | 77 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -271786.8868 | -3769.8399 | -275556.7266 | 12552.9063
|  |  |  | 7 | 78 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -275556.7266 | -3769.8399 | -279326.5665 | 12552.9063
|  |  |  | 7 | 79 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -279326.5665 | -3769.8399 | -283096.4064 | 12552.9063
|  |  |  | 7 | 80 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -283096.4064 | -3769.8399 | -286866.2462 | 12552.9063
|  |  |  | 7 | 81 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -286866.2462 | -3769.8399 | -290636.0861 | 12552.9063
|  |  |  | 7 | 82 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -290636.0861 | -3769.8399 | -294405.9259 | 12552.9063
|  |  |  | 7 | 83 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -294405.9259 | -3769.8399 | -298175.7658 | 12552.9063
|  |  |  | 7 | 84 | 0 | 0 | 0 | 13295.1333 | -742.227 | 12552.9063 | -2500 | 10052.9063 | -3769.8399 | 0 | -298175.7658 | -3769.8399 | -301945.6057 | 12552.9063
|  |  |  | 8 | 85 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -301945.6057 | -3763.5773 | -305709.183 | 12536.2062
|  |  |  | 8 | 86 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -305709.183 | -3763.5773 | -309472.7603 | 12536.2062
|  |  |  | 8 | 87 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -309472.7603 | -3763.5773 | -313236.3376 | 12536.2062
|  |  |  | 8 | 88 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -313236.3376 | -3763.5773 | -316999.915 | 12536.2062
|  |  |  | 8 | 89 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -316999.915 | -3763.5773 | -320763.4923 | 12536.2062
|  |  |  | 8 | 90 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -320763.4923 | -3763.5773 | -324527.0696 | 12536.2062
|  |  |  | 8 | 91 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -324527.0696 | -3763.5773 | -328290.6469 | 12536.2062
|  |  |  | 8 | 92 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -328290.6469 | -3763.5773 | -332054.2243 | 12536.2062
|  |  |  | 8 | 93 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -332054.2243 | -3763.5773 | -335817.8016 | 12536.2062
|  |  |  | 8 | 94 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -335817.8016 | -3763.5773 | -339581.3789 | 12536.2062
|  |  |  | 8 | 95 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | 0 | -339581.3789 | -3763.5773 | -343344.9562 | 12536.2062
|  |  |  | 8 | 96 | 0 | 0 | 0 | 13295.1333 | -758.9271 | 12536.2062 | -2500 | 10036.2062 | -3763.5773 | -347108.5336 | -343344.9562 | 343344.9562 | 0 | -334572.3274
|  |  |  | 9 | 97 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 98 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 99 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 100 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 101 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 102 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 103 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 104 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 105 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 106 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 107 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 9 | 108 | 0 | 0 | 0 | 13295.1333 | -776.003 | 12519.1303 | -2504 | 10015.1303 | -3755.6739 | -3755.6739 | 0 | 0 | 0 | 8763.4565
|  |  |  | 10 | 109 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 110 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 111 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 112 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 113 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 114 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 115 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 116 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 117 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 118 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 119 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 10 | 120 | 0 | 0 | 0 | 13295.1333 | -793.4631 | 12501.6703 | -2500 | 10001.6703 | -3750.6264 | -3750.6264 | 0 | 0 | 0 | 8751.0439
|  |  |  | 11 | 121 | 0 | 336000 | 0 | 0 | 0 | 336000 | 0 | 170872 | -64077 | -64077 | 0 | 0 | 0 | 271923
|  |  |  | 11 | 122
|  |  |  | 11 | 123
|  |  |  | 11 | 124
|  |  |  | 11 | 125
|  |  |  | 11 | 126
|  |  |  | 11 | 127
|  |  |  | 11 | 128
|  |  |  | 11 | 129
|  |  |  | 11 | 130
|  |  |  | 11 | 131
|  |  |  | 11 | 132
|  |  |  | 12 | 133
|  |  |  | 12 | 134
|  |  |  | 12 | 135
|  |  |  | 12 | 136
|  |  |  | 12 | 137
|  |  |  | 12 | 138
|  |  |  | 12 | 139
|  |  |  | 12 | 140
|  |  |  | 12 | 141
|  |  |  | 12 | 142
|  |  |  | 12 | 143
|  |  |  | 12 | 144
|  |  |  | 13 | 145
|  |  |  | 13 | 146
|  |  |  | 13 | 147
|  |  |  | 13 | 148
|  |  |  | 13 | 149
|  |  |  | 13 | 150
|  |  |  | 13 | 151
|  |  |  | 13 | 152
|  |  |  | 13 | 153
|  |  |  | 13 | 154
|  |  |  | 13 | 155
|  |  |  | 13 | 156
|  |  |  | 14 | 157
|  |  |  | 14 | 158
|  |  |  | 14 | 159
|  |  |  | 14 | 160
|  |  |  | 14 | 161
|  |  |  | 14 | 162
|  |  |  | 14 | 163
|  |  |  | 14 | 164
|  |  |  | 14 | 165
|  |  |  | 14 | 166
|  |  |  | 14 | 167
|  |  |  | 14 | 168
|  |  |  | 15 | 169
|  |  |  | 15 | 170
|  |  |  | 15 | 171
|  |  |  | 15 | 172
|  |  |  | 15 | 173
|  |  |  | 15 | 174
|  |  |  | 15 | 175
|  |  |  | 15 | 176
|  |  |  | 15 | 177
|  |  |  | 15 | 178
|  |  |  | 15 | 179
|  |  |  | 15 | 180
|  |  |  | 16 | 181
|  |  |  | 16 | 182
|  |  |  | 16 | 183
|  |  |  | 16 | 184
|  |  |  | 16 | 185
|  |  |  | 16 | 186
|  |  |  | 16 | 187
|  |  |  | 16 | 188
|  |  |  | 16 | 189
|  |  |  | 16 | 190
|  |  |  | 16 | 191
|  |  |  | 16 | 192
|  |  |  | 17 | 193
|  |  |  | 17 | 194
|  |  |  | 17 | 195
|  |  |  | 17 | 196
|  |  |  | 17 | 197
|  |  |  | 17 | 198
|  |  |  | 17 | 199
|  |  |  | 17 | 200
|  |  |  | 17 | 201
|  |  |  | 17 | 202
|  |  |  | 17 | 203
|  |  |  | 17 | 204
|  |  |  | 18 | 205
|  |  |  | 18 | 206
|  |  |  | 18 | 207
|  |  |  | 18 | 208
|  |  |  | 18 | 209
|  |  |  | 18 | 210
|  |  |  | 18 | 211
|  |  |  | 18 | 212
|  |  |  | 18 | 213
|  |  |  | 18 | 214
|  |  |  | 18 | 215
|  |  |  | 18 | 216
|  |  |  | 19 | 217
|  |  |  | 19 | 218
|  |  |  | 19 | 219
|  |  |  | 19 | 220
|  |  |  | 19 | 221
|  |  |  | 19 | 222
|  |  |  | 19 | 223
|  |  |  | 19 | 224
|  |  |  | 19 | 225
|  |  |  | 19 | 226
|  |  |  | 19 | 227
|  |  |  | 19 | 228
|  |  |  | 20 | 229
|  |  |  | 20 | 230
|  |  |  | 20 | 231
|  |  |  | 20 | 232
|  |  |  | 20 | 233
|  |  |  | 20 | 234
|  |  |  | 20 | 235
|  |  |  | 20 | 236
|  |  |  | 20 | 237
|  |  |  | 20 | 238
|  |  |  | 20 | 239
|  |  |  | 20 | 240
|  |  |  | 21 | 241
[6 empty] | -508400 | 336000 | 0 | 1595416 | -86319.6366 | 1845096.3634 | -343272 | 1336696.3634 | -501261.1363 | -501261.1363 |  |  |  | 835435.2271
[6 empty] | Project | Equipment | Customer | Other | Operating |  | Dep'n Expense | Tax Basis | Taxes | Tax Paid |  |  |  | AFTER-TAX
[6 empty] | Cost | Sales Proceeds | Revenue | Revenue | Expense | EBITDA | (15 yr MACRS) | EBIT | Tax Efficiency | Defer Tax |  |  |  | CASH FLOW
Cash In
[6 empty] | Equipment Sales Proceeds | 336000 |  |  |  |  | Tax Calc on Depreciation Recapture
[6 empty] | Customer Revenue | 0 |  |  |  |  | 508400 | Basis
[6 empty] | Other Revenue | 1595416 |  |  |  |  | -343272 | Cumulative Dep'n
[7 empty] | 1931416 |  |  |  |  | 165128 | Net Book Value
|  |  |  | Cash Out | [7 empty] | 336000 | Sales Proceeds
[6 empty] | Project Cost | -508400 |  |  |  |  | 170872 | Gain on Sale
[6 empty] | Operating Expenses | -86319.6366 |  |  |  |  | 64077 | Tax on Sale
-594719.6366
Pre-Tax Cash Flow
1336696.3634
[6 empty] | Income Taxes | -501261.1363 | -37.5% | Tax Rate
After-Tax Cash Flow
835435.2271
NPV
[7 empty] | 423400.2009 | 8% | Discount Rate
Note on Q11: NRGAdmin: Tax Effect from project expenses.
Note on J132: NRGAdmin: Salvage Value
Note on P132: NRGAdmin: See side calc for tax on sale. Recapture.